## Slide 2
Rational
QTOF
QTrap
Orbitrap
TQ
NMR 500
NMR 800
TOF
GCMS
LCMS
AMiX
MetLin
MassBank
XCMS
MSI
HMdB
MZMine
reliability of my untargeted metabolomics study
In-house scripts
KEGG
NMR 800

## Slide 3
Rational
Where do we stand?
No prior standardization
Between MS
Between NMR
Between MS & NMR

## Slide 4
Skills & Partners
N Stojilkocic_LCH Verrière
C Junot_CEA Saclay
M Triba_UParisXIII
LCMS
(9)
NMR
(5)
Gwenaelle Le Gall _IFR Norwich
JP Antignac_Laberca
Nantes
E Pujos_JF Martin, INRA
Clermont
C Canlet, F Jourdan_INRA
Toulouse
JC Martin AMU
L Shintu U Med
Marseille
C Guillou_IHC, Ispra
Data processing
D Rutledge, IAQA,
agroparistech
D Jacob,
CBiB
Bordeaux
S.
Goulitquer
,
Metabomer
R. Molinié, U
-
Amiens
A.
Verdu_Brüker
daltonics
,
Les Ulis
G Mazerolles,
supagro
, Montpellier

## Slide 5
Method
High biological contrast
Low biological contrast
Analysis of urines provided by 14 healthy volunteers spiked with 32 standard metabolites vs non-spiked urines
Dietary supplementation of 20 rats with 20kUI vit D x 6 weeks vs control rats
Untargeted analysis of urines
Untargeted analysis of plasma
Data extraction and inter-platform convergence assessment

## Slide 6
Method
LCMS
very high pressure LC from different vendors, different chromatographic columns used , ESI conditions, MS configurations (TOF, QTOF, orbital technology) and instrument series. All used XCMS but with different tuning; various post-processing filtering
Same metabolite gives various spectral features
NMR
Brüker avance 500 or 600, 1[H]NMR spectra recording (1D NOESY), deconvolution with AMIX or in-house Matlab script, bucketing conditions from 0.001ppm to 0.01 and 0.04 ppm, normalization on total bucket intensity or on external TSP
Same metabolite gives various spectral features
Same metabolite gives various spectral features

## Slide 7
Method
Each statistical indivual are common to each block
No group assignment (unsupervised)
Each block has a specific set of variables, generally not shared with the other blocks.
Platform 1
1
2
:
i
individuals
V1 ….. Vp
Platform 2
V1 ….. Vk
Platform 3
V1 ….. Vh
……..
..…..…
Platform i
V1 ….. Vq

## Slide 8
Method
Platform 1
1
2
:
i
individuals
V1 ….. Vp
Platform 2
V1 ….. Vk
Platform 3
V1 ….. Vh
……..
..…..…
Platform j
V1 ….. Vq
Extraction of the common information shared by all blocks
Weight determination of each block in the common information
(common component and specific weight analysis or CCSW)
LocalLx{j}(i,:) = inv( T(:,i)' * T(:,i) ) * T(:,i)' *Table{j};
Qannari, E. M. et al, Food Quality and Preference 2000, 11, 151-154.

## Slide 9
Platform 1
V1 ….. Vp
Platform 2
V1 ….. Vk
Platform 3
V1 ….. Vh
Platform 4
V1..….. Vz
Platform i
V1 ….. Vq
Rv1-3
Rv1-4
Rv2-3
Rv3-4
Rv2-i
Rv3-i
Rv4-i
Method
RV coefficients = closeness between two variance-covariance matrices (≈ r2)
Lavit, C.; et a lComputational Statistics & Data Analysis 1994, 18, 97-119.

## Slide 10
Test#1
High biological contrast
urines
Results

## Slide 11
Results
Chart: Number of features (after processing)
| RMN1 | RMN2 | RMN3 | RMN4 | ORBI1 | ORBI2 | ORBI3 | ORBI3 | ORBI5 | QTOF1 | QTOF1 | QTOF1 | QTOF2 | QTOF3 | QTOF4 | QTOF4 | QTOF5 | QTOF5 | TOF | TOF
nombre de variables | 751 | 252 | 88 | 233 | 5035 | 1570 | 1827 | 1715 | 2668 | 1814 | 1181 | 1288 | 1688 | 908 | 909 | 438 | 6992 | 5167 | 580 | 398
x80
Test#1: urine study

## Slide 12
CCSW Results
Test#1: urine study
NMR
Orbi’s
QTOF’s
TOF’s
non spiked
spiked
non spiked
spiked
non spiked
spiked
non spiked
spiked

## Slide 14
Rv coefficients Results
MS
NMR
Correlation (Rv coeff ≈ r2) threshold over 0.79
Mean RV between MS = 0.87
Mean RV between NMR x MS = 0.74
Node size f(# features)
Mean RV between NMR = 0.78
# node connections
high
low
Key:
N for NMR
Q for QTOF
O for orbitrap
T for TOF
Positive ionization indicated by P
Negative ionization indicated by N
MS

## Slide 15
Test#2
Low biological contrast
Rat plasma
Results

## Slide 16
Chart: 
| MS_CEA | MS_CLT | MS_ISPRA | MS_LABERCA | MS_LCH | MS_MRS | RMN_TOU | RMN_PARIS | RMN_MRS | RMN_NOR
Série 1 | 170 | 2631 | 1295 | 1979 | 4554 | 504 | 881 | 9550 | 3384 | 120
QTOF3
NMR1
NMR3
NMR2
NMR4
ORBI1
QTOF1
ORBI2
ORBI3
QTOF2
Results
Test#2: rat plasma study

## Slide 17
MS
NMR
Correlation (Rv coeff ≈ r2) over 0.71
Node size f(# features)
Results
Mean RV between MS = 0.67
Mean RV between NMR = 0.78
Mean RV between NMR x MS = 0.57
Test#2: rat plasma study
# node connections
high
low

## Slide 19
Conclusion
Can we trust untargeted metabolomics?
Heterologous instruments are able to extract a convergent biological information without prior standardization
This information is not influenced by the number of extracted variables
For MS, the technological design has no effect when dealing with pattern comparisons
Metabotypes can be reported at different scales (MS and NMR sensitivity)
Our methodology could be used to assess the efficiency of standardization procedures to further improve inter-instrument convergence

## Slide 20
Acknowledgments
Matthieu Maillot, Gérard Mazerolles, Alexandre Verdu, Bernard Lyan, Carole Migne, Catherine Defoort, Cecile Canlet, Christophe Junot, Claude Guillou, Claudine Manach, Daniel Jabob, Delphine Jouan-Rimbaud Bouveresse, Estelle Paris, Estelle Pujos-Guillot, Fabien Jourdan, Fabrice Tranchida, Franck Giacomoni, Fréderique Courant, Gaëlle Favé, Gwenaëlle Le Gall, Hubert Chassaigne, Jean-Claude Tabet, Jean-Francois Martin, Jean-Philippe Antignac, Laetitia Shintu, Marianne Defernez, Mark Philo, Marie-Cécile Alexandre-Gouaubau, Marie-Josephe Amiot-Carlin, Mathilde Bossis, Mohamed N. Triba, Natali Stojilkovic, Nathalie Banzet, Roland Molinié, Romain Bott, Sophie Goulitquer, Stefano Caldarelli, Douglas N. Rutledge